## wires 1 cm
| TG-43 CONSENSUS |  |  |  |  | E&Z BEBIG 192Ir wire 1.0 cm long
Dose calculation for photon-emitting brachytherapy sources with average energy higher than 50 keV: Full Report of the AAPM and ESTRO
Med. Phys. 39 (2012) 2904-2929
| L = | 1.036 |  | cGy/(h U)
Interpolated / extrapolated data are boldface / underlined. Values inside the source are in italics.
| gL( r) |  |  |  | F(r,q) | [13 empty] | QA Along-away
| L = | 1 | cm |  |  |  | Distance from Active Source Center (cm)
| r (cm) | gL(r) unbounded |  | q (º) | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 10 |  | z (cm) | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7
| 0 | 0.9729 |  | 0 | 0.681 | 0.681 | 0.603 | 0.525 | 0.447 | 0.411 | 0.411 | 0.435 | 0.474 | 0.512 | 0.544 | 0.571 | 0.605 | 0.647 |  | 7 | 0.012916 | 0.01398 | 0.015659 | 0.016895 | 0.017688 | 0.018378 | 0.018494 | 0.017567 | 0.015943 | 0.014045 | 0.012214 | 0.010531
| 0.25 | 0.9729 |  | 1 | 0.684 | 0.684 | 0.607 | 0.53 | 0.453 | 0.421 | 0.423 | 0.451 | 0.489 | 0.525 | 0.558 | 0.585 | 0.616 | 0.658 |  | 6 | 0.016951 | 0.018805 | 0.021597 | 0.023409 | 0.024553 | 0.025315 | 0.025114 | 0.023156 | 0.020305 | 0.017398 | 0.014681 | 0.01235
| 0.5 | 0.9899 |  | 2 | 0.691 | 0.691 | 0.621 | 0.551 | 0.481 | 0.454 | 0.458 | 0.489 | 0.524 | 0.558 | 0.589 | 0.617 | 0.642 | 0.683 |  | 5 | 0.023207 | 0.026949 | 0.031802 | 0.034591 | 0.035928 | 0.036569 | 0.035566 | 0.031286 | 0.026253 | 0.021564 | 0.01762 | 0.014386
| 0.75 | 0.9968 |  | 3 | 0.725 | 0.725 | 0.66 | 0.595 | 0.53 | 0.506 | 0.512 | 0.54 | 0.571 | 0.602 | 0.629 | 0.656 | 0.678 | 0.714 |  | 4 | 0.033909 | 0.042751 | 0.051417 | 0.055605 | 0.057109 | 0.056408 | 0.052979 | 0.043428 | 0.034164 | 0.026659 | 0.020906 | 0.016584
| 1 | 1 |  | 4 | 0.772 | 0.772 | 0.71 | 0.648 | 0.586 | 0.562 | 0.568 | 0.593 | 0.621 | 0.647 | 0.671 | 0.693 | 0.713 | 0.745 |  | 3 | 0.056025 | 0.08024 | 0.096745 | 0.10179 | 0.10191 | 0.094813 | 0.083508 | 0.061269 | 0.0443 | 0.032492 | 0.02439 | 0.018748
| 1.5 | 1.0038 |  | 5 | 0.811 | 0.811 | 0.753 | 0.695 | 0.637 | 0.614 | 0.616 | 0.638 | 0.663 | 0.685 | 0.706 | 0.724 | 0.741 | 0.771 |  | 2.5 | 0.079363 | 0.12188 | 0.14374 | 0.14835 | 0.14488 | 0.12772 | 0.10729 | 0.072817 | 0.049993 | 0.03548 | 0.026073 | 0.019755
| 2 | 1.0065 |  | 6 | 0.842 | 0.842 | 0.788 | 0.734 | 0.68 | 0.657 | 0.659 | 0.678 | 0.699 | 0.718 | 0.737 | 0.753 | 0.766 | 0.793 |  | 2 | 0.12324 | 0.20511 | 0.23404 | 0.23203 | 0.21713 | 0.17653 | 0.13871 | 0.085751 | 0.05578 | 0.038345 | 0.027626 | 0.020652
| 3 | 1.0087 |  | 8 | 0.887 | 0.887 | 0.84 | 0.793 | 0.746 | 0.725 | 0.725 | 0.74 | 0.754 | 0.77 | 0.783 | 0.796 | 0.806 | 0.826 |  | 1.5 | 0.23046 | 0.41213 | 0.43322 | 0.39667 | 0.34439 | 0.24817 | 0.17844 | 0.099347 | 0.06126 | 0.040897 | 0.028957 | 0.021409
| 4 | 1.0085 |  | 10 | 0.911 | 0.911 | 0.872 | 0.833 | 0.794 | 0.775 | 0.775 | 0.785 | 0.797 | 0.809 | 0.82 | 0.829 | 0.838 | 0.852 |  | 1 | 0.66587 | 1.1378 | 0.97204 | 0.7465 | 0.56831 | 0.3432 | 0.2226 | 0.11183 | 0.065849 | 0.04294 | 0.029994 | 0.021983
| 5 | 1.0041 |  | 15 | 0.946 | 0.946 | 0.92 | 0.894 | 0.868 | 0.853 | 0.851 | 0.856 | 0.862 | 0.869 | 0.875 | 0.881 | 0.886 | 0.895 |  | 0.75 | 1.8709 | 2.3936 | 1.5595 | 1.0327 | 0.71895 | 0.39369 | 0.24321 | 0.11692 | 0.067634 | 0.043701 | 0.030367 | 0.022188
| 6 | 0.9971 |  | 20 | 0.963 | 0.963 | 0.945 | 0.927 | 0.909 | 0.897 | 0.895 | 0.897 | 0.9 | 0.905 | 0.909 | 0.913 | 0.915 | 0.921 |  | 0.5 | 120039.1654 | 5.6499 | 2.4212 | 1.3654 | 0.87274 | 0.43858 | 0.2603 | 0.12086 | 0.068947 | 0.044255 | 0.030641 | 0.022339
| 8 | 0.9745 |  | 25 | 0.973 | 0.973 | 0.96 | 0.947 | 0.934 | 0.925 | 0.924 | 0.925 | 0.927 | 0.93 | 0.933 | 0.934 | 0.937 | 0.94 |  | 0.25 | 532949.9433 | 8.8338 | 3.1907 | 1.6404 | 0.99107 | 0.46974 | 0.27164 | 0.12326 | 0.069764 | 0.044599 | 0.030811 | 0.022432
| 10 | 0.9416 |  | 30 | 0.992 | 0.992 | 0.976 | 0.96 | 0.951 | 0.945 | 0.943 | 0.943 | 0.944 | 0.947 | 0.947 | 0.949 | 0.951 | 0.954 |  | 0 | 133238469.8185 | 9.6273 | 3.4744 | 1.7462 | 1.036 | 0.48111 | 0.27548 | 0.12408 | 0.070057 | 0.044724 | 0.030873 | 0.022466
|  |  |  | 40 | 0.993 | 0.993 | 0.985 | 0.977 | 0.972 | 0.969 | 0.968 | 0.968 | 0.968 | 0.97 | 0.97 | 0.971 | 0.971 | 0.972
|  |  |  | 50 | 0.995 | 0.995 | 0.991 | 0.987 | 0.984 | 0.984 | 0.983 | 0.982 | 0.982 | 0.983 | 0.983 | 0.983 | 0.984 | 0.985
|  |  |  | 60 | 0.996 | 0.996 | 0.995 | 0.993 | 0.992 | 0.992 | 0.991 | 0.992 | 0.991 | 0.992 | 0.991 | 0.991 | 0.991 | 0.992
|  |  |  | 70 | 0.998 | 0.998 | 0.998 | 0.997 | 0.997 | 0.997 | 0.996 | 0.997 | 0.996 | 0.996 | 0.996 | 0.996 | 0.996 | 0.996
|  |  |  | 80 | 0.999 | 0.999 | 1 | 0.999 | 0.999 | 0.999 | 1 | 1 | 0.999 | 0.999 | 0.999 | 0.999 | 0.999 | 1
|  |  |  | 90 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1