## Ir2.A85-1
| TG-43 CONSENSUS | [5 empty] | E&Z BEBIG PDR 192Ir Ir2.A85-1
Dose calculation for photon-emitting brachytherapy sources with average energy higher than 50 keV: Full Report of the AAPM and ESTRO
Med. Phys. 39 (2012) 2904-2929
| L = | 1.124 |  | cGy/(h U)
Interpolated / extrapolated data are boldface / underlined. Values inside the source are in italics.
| gL( r) |  |  |  | F(r,q) | [13 empty] | QA Along-away
| L = | 0.05 | cm |  |  |  |  | Distance from Active Source Center (cm)
| r (cm) | gL( r) |  | Theta/deg | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 10 | z / cm | 0 | 0.25 | 0.5 | 0.75 | 1 | 1.5 | 2 | 3 | 4 | 5 | 6 | 7
| 0 | 0.997 |  | 0 | 0.929 | 0.929 | 0.925 | 0.921 | 0.923 | 0.925 | 0.927 | 0.926 | 0.931 | 0.937 | 0.939 | 0.942 | 0.941 | 0.947 | 7 | 0.021332 | 0.02169 | 0.021697 | 0.021594 | 0.021381 | 0.020909 | 0.020253 | 0.018579 | 0.01659 | 0.014523 | 0.012566 | 0.010798
| 0.25 | 0.997 |  | 1 | 0.926 | 0.926 | 0.926 | 0.926 | 0.928 | 0.93 | 0.933 | 0.935 | 0.939 | 0.944 | 0.948 | 0.95 | 0.95 | 0.956 | 6 | 0.029236 | 0.029737 | 0.029727 | 0.029481 | 0.029168 | 0.028278 | 0.027129 | 0.024268 | 0.021036 | 0.0179 | 0.01505 | 0.012621
| 0.5 | 0.997 |  | 2 | 0.931 | 0.931 | 0.932 | 0.933 | 0.934 | 0.937 | 0.94 | 0.945 | 0.948 | 0.952 | 0.956 | 0.959 | 0.96 | 0.965 | 5 | 0.042306 | 0.042953 | 0.042897 | 0.042361 | 0.041749 | 0.04 | 0.037781 | 0.032501 | 0.027015 | 0.022096 | 0.017994 | 0.014671
| 0.75 | 0.999 |  | 3 | 0.935 | 0.935 | 0.936 | 0.937 | 0.938 | 0.94 | 0.943 | 0.947 | 0.951 | 0.954 | 0.958 | 0.961 | 0.962 | 0.967 | 4 | 0.065877 | 0.067152 | 0.066577 | 0.065527 | 0.064063 | 0.060123 | 0.055283 | 0.044661 | 0.034948 | 0.027199 | 0.021314 | 0.016881
| 1 | 1 |  | 4 | 0.935 | 0.935 | 0.937 | 0.939 | 0.941 | 0.943 | 0.946 | 0.95 | 0.954 | 0.957 | 0.96 | 0.963 | 0.965 | 0.969 | 3 | 0.1166 | 0.1189 | 0.117 | 0.1137 | 0.1093 | 0.098273 | 0.085819 | 0.062536 | 0.045116 | 0.033059 | 0.024809 | 0.019054
| 1.5 | 1.003 |  | 5 | 0.937 | 0.937 | 0.939 | 0.941 | 0.942 | 0.944 | 0.947 | 0.951 | 0.955 | 0.959 | 0.962 | 0.965 | 0.966 | 0.97 | 2 | 0.26215 | 0.26386 | 0.25453 | 0.23912 | 0.22036 | 0.17877 | 0.14081 | 0.087165 | 0.056687 | 0.038978 | 0.028036 | 0.020931
| 2 | 1.006 |  | 6 | 0.939 | 0.939 | 0.94 | 0.941 | 0.942 | 0.944 | 0.947 | 0.952 | 0.955 | 0.96 | 0.962 | 0.965 | 0.966 | 0.97 | 1.5 | 0.4637 | 0.46259 | 0.43306 | 0.3904 | 0.34143 | 0.2498 | 0.18094 | 0.10097 | 0.062239 | 0.041531 | 0.029346 | 0.021661
| 3 | 1.008 |  | 8 | 0.938 | 0.938 | 0.94 | 0.942 | 0.943 | 0.946 | 0.948 | 0.952 | 0.956 | 0.959 | 0.962 | 0.964 | 0.966 | 0.969 | 1 | 1.0383 | 1.0072 | 0.87416 | 0.71049 | 0.55991 | 0.34764 | 0.22691 | 0.11374 | 0.066799 | 0.043523 | 0.030352 | 0.022209
| 4 | 1.007 |  | 10 | 0.941 | 0.941 | 0.943 | 0.945 | 0.947 | 0.949 | 0.952 | 0.956 | 0.958 | 0.961 | 0.964 | 0.966 | 0.968 | 0.972 | 0.5 | 4.1576 | 3.4825 | 2.2303 | 1.3834 | 0.90241 | 0.45297 | 0.26704 | 0.12285 | 0.06981 | 0.044771 | 0.030958 | 0.022544
| 5 | 1.004 |  | 15 | 0.946 | 0.946 | 0.948 | 0.95 | 0.952 | 0.955 | 0.957 | 0.96 | 0.963 | 0.965 | 0.967 | 0.969 | 0.971 | 0.974 | 0 | 3748608061.6663 | 17.8744 | 4.4797 | 1.9959 | 1.124 | 0.50111 | 0.28273 | 0.12591 | 0.070756 | 0.045149 | 0.031135 | 0.022645
| 6 | 0.997 |  | 20 | 0.954 | 0.954 | 0.956 | 0.958 | 0.959 | 0.961 | 0.963 | 0.966 | 0.969 | 0.97 | 0.972 | 0.975 | 0.976 | 0.978 | -0.5 | 3.1957 | 3.1945 | 2.155 | 1.3556 | 0.8892 | 0.44843 | 0.26507 | 0.12227 | 0.069561 | 0.044643 | 0.030884 | 0.022507
| 8 | 0.975 |  | 25 | 0.965 | 0.965 | 0.966 | 0.967 | 0.968 | 0.97 | 0.971 | 0.973 | 0.975 | 0.977 | 0.979 | 0.98 | 0.98 | 0.983 | -1 | 0.80883 | 0.86496 | 0.80424 | 0.67539 | 0.54126 | 0.34084 | 0.22368 | 0.1126 | 0.066302 | 0.043267 | 0.030211 | 0.022136
| 10 | 0.943 |  | 30 | 0.974 | 0.974 | 0.975 | 0.976 | 0.976 | 0.977 | 0.978 | 0.98 | 0.982 | 0.983 | 0.984 | 0.985 | 0.985 | 0.987 | -1.5 | 0.36444 | 0.3898 | 0.38387 | 0.35998 | 0.32234 | 0.24164 | 0.17692 | 0.099528 | 0.061524 | 0.041136 | 0.029132 | 0.02154
|  |  |  | 40 | 0.987 | 0.987 | 0.988 | 0.989 | 0.99 | 0.99 | 0.99 | 0.991 | 0.992 | 0.992 | 0.993 | 0.994 | 0.994 | 0.994 | -2 | 0.207 | 0.22043 | 0.22117 | 0.21526 | 0.20364 | 0.17034 | 0.13626 | 0.085482 | 0.05587 | 0.038496 | 0.027757 | 0.020755
|  |  |  | 50 | 0.995 | 0.995 | 0.996 | 0.997 | 0.997 | 0.997 | 0.997 | 0.998 | 0.998 | 0.998 | 0.998 | 0.999 | 0.999 | 0.999 | -3 | 0.094064 | 0.098729 | 0.10049 | 0.099829 | 0.098025 | 0.091202 | 0.081245 | 0.060547 | 0.044145 | 0.032505 | 0.024444 | 0.018805
|  |  |  | 60 | 0.998 | 0.998 | 1.001 | 1.002 | 1.002 | 1.002 | 1.002 | 1.002 | 1.002 | 1.002 | 1.002 | 1.003 | 1.002 | 1.002 | -4 | 0.053989 | 0.056202 | 0.05702 | 0.057157 | 0.056704 | 0.054747 | 0.051487 | 0.042708 | 0.033877 | 0.026573 | 0.0209 | 0.016613
|  |  |  | 70 | 1.001 | 1.001 | 1.003 | 1.003 | 1.004 | 1.004 | 1.004 | 1.004 | 1.004 | 1.005 | 1.004 | 1.004 | 1.004 | 1.003 | -5 | 0.035082 | 0.036271 | 0.036674 | 0.036896 | 0.036804 | 0.036059 | 0.034731 | 0.030708 | 0.025941 | 0.02142 | 0.017565 | 0.014374
|  |  |  | 80 | 1.001 | 1.001 | 1.002 | 1.002 | 1.003 | 1.003 | 1.003 | 1.003 | 1.003 | 1.003 | 1.003 | 1.002 | 1.002 | 1.002 | -6 | 0.024566 | 0.025317 | 0.025505 | 0.025692 | 0.025704 | 0.025374 | 0.024732 | 0.022714 | 0.020027 | 0.017243 | 0.014602 | 0.012317
|  |  |  | 90 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | -7 | 0.018094 | 0.018595 | 0.018752 | 0.018859 | 0.01887 | 0.018725 | 0.018382 | 0.017269 | 0.015706 | 0.013899 | 0.012135 | 0.010489
|  |  |  | 100 | 0.999 | 0.999 | 0.999 | 0.999 | 0.999 | 0.998 | 0.998 | 0.998 | 0.998 | 0.998 | 0.998 | 0.998 | 0.997 | 0.997
|  |  |  | 110 | 0.993 | 0.993 | 0.994 | 0.994 | 0.994 | 0.993 | 0.993 | 0.993 | 0.993 | 0.993 | 0.993 | 0.993 | 0.992 | 0.992
|  |  |  | 120 | 0.983 | 0.983 | 0.985 | 0.985 | 0.985 | 0.985 | 0.986 | 0.986 | 0.986 | 0.986 | 0.986 | 0.986 | 0.986 | 0.986
|  |  |  | 130 | 0.971 | 0.971 | 0.971 | 0.971 | 0.972 | 0.972 | 0.972 | 0.973 | 0.973 | 0.974 | 0.974 | 0.975 | 0.975 | 0.976
|  |  |  | 140 | 0.944 | 0.944 | 0.946 | 0.948 | 0.948 | 0.949 | 0.95 | 0.952 | 0.953 | 0.955 | 0.956 | 0.957 | 0.958 | 0.96
|  |  |  | 150 | 0.905 | 0.905 | 0.907 | 0.909 | 0.911 | 0.913 | 0.915 | 0.919 | 0.922 | 0.926 | 0.928 | 0.931 | 0.933 | 0.937
|  |  |  | 155 | 0.878 | 0.878 | 0.88 | 0.882 | 0.884 | 0.888 | 0.891 | 0.897 | 0.903 | 0.907 | 0.911 | 0.914 | 0.917 | 0.922
|  |  |  | 160 | 0.842 | 0.842 | 0.846 | 0.85 | 0.854 | 0.859 | 0.864 | 0.872 | 0.879 | 0.885 | 0.89 | 0.895 | 0.9 | 0.907
|  |  |  | 165 | 0.8115 | 0.8115 | 0.815 | 0.8185 | 0.822 | 0.829 | 0.835 | 0.846 | 0.855 | 0.863 | 0.87 | 0.876 | 0.881 | 0.89
|  |  |  | 170 | 0.7795 | 0.7795 | 0.784 | 0.7885 | 0.793 | 0.802 | 0.81 | 0.823 | 0.833 | 0.842 | 0.851 | 0.858 | 0.865 | 0.876
|  |  |  | 172 | 0.77 | 0.77 | 0.774 | 0.778 | 0.782 | 0.79 | 0.798 | 0.811 | 0.823 | 0.833 | 0.842 | 0.85 | 0.857 | 0.869
|  |  |  | 174 | 0.748 | 0.748 | 0.753 | 0.758 | 0.763 | 0.773 | 0.783 | 0.799 | 0.812 | 0.822 | 0.833 | 0.842 | 0.849 | 0.862
|  |  |  | 175 | 0.7375 | 0.7375 | 0.743 | 0.7485 | 0.754 | 0.765 | 0.775 | 0.791 | 0.805 | 0.816 | 0.826 | 0.836 | 0.845 | 0.858
|  |  |  | 176 | 0.7295 | 0.7295 | 0.735 | 0.7405 | 0.746 | 0.757 | 0.767 | 0.784 | 0.799 | 0.811 | 0.821 | 0.832 | 0.84 | 0.856
|  |  |  | 177 | 0.722 | 0.722 | 0.728 | 0.734 | 0.74 | 0.752 | 0.762 | 0.78 | 0.795 | 0.806 | 0.817 | 0.826 | 0.836 | 0.849
|  |  |  | 178 | 0.7205 | 0.7205 | 0.726 | 0.7315 | 0.737 | 0.748 | 0.758 | 0.775 | 0.789 | 0.801 | 0.813 | 0.822 | 0.831 | 0.844
|  |  |  | 179 | 0.7135 | 0.7135 | 0.718 | 0.7225 | 0.727 | 0.736 | 0.743 | 0.758 | 0.774 | 0.788 | 0.8 | 0.81 | 0.82 | 0.837
|  |  |  | 180 | 0.707 | 0.707 | 0.711 | 0.715 | 0.719 | 0.727 | 0.732 | 0.747 | 0.763 | 0.777 | 0.789 | 0.799 | 0.812 | 0.829